## General
Excel file version | v2.0
Name | Distribution
Frequency (Hz) | 60
Power Base (MVA) | 100

## Pins
//outgoing | V_abs | 6124SBP50_a/Vmag | 6124SBP50_b/Vmag | 6124SBP50_c/Vmag | 7564_3_1_a/Vmag | 7564_3_1_b/Vmag | 7564_3_1_c/Vmag
//outgoing | V_ang | 6124SBP50_a/Vang | 6124SBP50_b/Vang | 6124SBP50_c/Vang | 7564_3_1_a/Vang | 7564_3_1_b/Vang | 7564_3_1_c/Vang
//outgoing | I_abs
//outgoing | I_ang
//outgoing | PQ_ld | LD_7564_3_1/P1 | LD_7564_3_1/Q1
//incoming | Trans_tap | TR1_6124_24_6124SBP50/tap_1 | TR1_6124_24_6124SBP50/tap_2 | TR1_6124_24_6124SBP50/tap_3
//incoming | PQ_ld | LD_7564_3_1/P1 | LD_7564_3_1/Q1

## Bus
Bus | Base Voltage (V) | Initial Vmag | Unit | Angle | Type
6124B006_85_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124B006_85_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124B006_85_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124B006_86_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124B006_86_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124B006_86_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124SBP50_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124SBP50_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124SBP50_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_1_16_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_1_16_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_1_16_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_1_27_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_1_27_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_1_27_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_1_28_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_1_28_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_1_28_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_1_3_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_1_3_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_1_3_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_1_4_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_1_4_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_1_4_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_1_7_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_1_7_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_1_7_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_21_a | 80757.908 | 80757.908 | V | -60.62 | SLACK
6124_21_b | 80757.908 | 80757.908 | V | 179.38 | SLACK
6124_21_c | 80757.908 | 80757.908 | V | 59.38 | SLACK
6124_22_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_22_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_22_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_24_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_24_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_24_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_24700_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_24700_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_24700_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_37_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_37_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_37_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_4_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_4_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_4_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_9_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_9_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_9_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_SBJ_28593_J0_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_SBJ_28593_J0_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_SBJ_28593_J0_c | 80757.908 | 80757.908 | V | 59.38 | PQ
6124_SUB_156_B006_a | 80757.908 | 80757.908 | V | -60.62 | PQ
6124_SUB_156_B006_b | 80757.908 | 80757.908 | V | 179.38 | PQ
6124_SUB_156_B006_c | 80757.908 | 80757.908 | V | 59.38 | PQ
7536_1_a | 80757.908 | 80757.908 | V | -60.62 | PQ
7536_1_b | 80757.908 | 80757.908 | V | 179.38 | PQ
7536_1_c | 80757.908 | 80757.908 | V | 59.38 | PQ
//7551_42_TX_a | 80757.908 | 80757.908 | V | -60.62 | PQ
//7551_42_TX_b | 80757.908 | 80757.908 | V | 179.38 | PQ
//7551_42_TX_c | 80757.908 | 80757.908 | V | 59.38 | PQ
7564_1_2_a | 80757.908 | 80757.908 | V | -60.62 | PQ
7564_1_2_b | 80757.908 | 80757.908 | V | 179.38 | PQ
7564_1_2_c | 80757.908 | 80757.908 | V | 59.38 | PQ
7564_1_S030_a | 80757.908 | 80757.908 | V | -60.62 | PQ
7564_1_S030_b | 80757.908 | 80757.908 | V | 179.38 | PQ
7564_1_S030_c | 80757.908 | 80757.908 | V | 59.38 | PQ
7564_2R1_1_a | 80757.908 | 80757.908 | V | -60.62 | PQ
7564_2R1_1_b | 80757.908 | 80757.908 | V | 179.38 | PQ
7564_2R1_1_c | 80757.908 | 80757.908 | V | 59.38 | PQ
7564_2_1_a | 80757.908 | 80757.908 | V | -60.62 | PQ
7564_2_1_b | 80757.908 | 80757.908 | V | 179.38 | PQ
7564_2_1_c | 80757.908 | 80757.908 | V | 59.38 | PQ
7564_3_1_a | 80757.908 | 80757.908 | V | -60.62 | PQ
7564_3_1_b | 80757.908 | 80757.908 | V | 179.38 | PQ
7564_3_1_c | 80757.908 | 80757.908 | V | 59.38 | PQ

## Voltage Source
Type
PositiveSeqVsource
SinglePhaseVsource
ThreePhaseShortCircuitVsource
ThreePhaseSequentialVsource
Important notes:
Default order of blocks and columns after row 11 must not change
One empty row between End of each block and the next block is mandatory; otherwise, empty rows are NOT allowed
Positive-Sequence Voltage Source |  |  |  | Go to Type List
ID | Bus | Voltage (pu) | Angle (deg) | Rs (pu) | Xs (pu)
End of Positive-Sequence Voltage Source
Single-Phase Voltage Source |  |  |  | Go to Type List
ID | Bus1 | Voltage (V) | Angle (deg) | Rs (Ohm) | Xs (Ohm)
End of Single-Phase Voltage Source
Three-Phase Voltage Source with Short-Circuit Level Data |  |  |  | Go to Type List
ID | Bus1 | Bus2 | Bus3 | kV (ph-ph RMS) | Angle_a (deg) | SC1ph (MVA) | SC3ph (MVA)
End of Three-Phase Voltage Source with Short-Circuit Level Data
Three-Phase Voltage Source with Sequential Data |  |  |  | Go to Type List
ID | Bus1 | Bus2 | Bus3 | kV (ph-ph RMS) | Angle_a (deg) | R1 (Ohm) | X1 (Ohm) | R0 (Ohm) | X0 (Ohm)
SRC_6124XT001 | 6124_21_a | 6124_21_b | 6124_21_c | 138 | -60.62 | 1.7692 | 11.7939 | 5.239 | 30.7961
End of Three-Phase Voltage Source with Sequential Data

## Load
Type
PositiveSeqZload | ThreePhaseZIPLoad
PositiveSeqPload
PositiveSeqIload
SinglePhaseZIPLoad
TwoPhaseZIPLoad
Important notes:
Default order of blocks and columns after row 11 must not change
One empty row between End of each block and the next block is mandatory; otherwise, empty rows are NOT allowed
Positive-Sequence Constant Impedance Load |  | Go to Type List
ID | Status | Bus | P (MW) | Q (MVAr)
End of Positive-Sequence Constant Impedance Load
Positive-Sequence Constant Power Load |  | Go to Type List
ID | Status | Bus | P (MW) | Q (MVAr)
End of Positive-Sequence Constant Power Load
Positive-Sequence Constant Current Load |  | Go to Type List
ID | Status | Bus | P (MW) | Q (MVAr)
End of Positive-Sequence Constant Current Load
Single-Phase ZIP Load |  | Go to Type List
ID | Status | V (kV) | Bandwidth (pu) | Conn. type | K_z | K_i | K_p | Use initial voltage? | Bus1 | P1 (kW) | Q1 (kVAr)
End of Single-Phase ZIP Load
Two-Phase ZIP Load |  | Go to Type List
ID | Status | V (kV) | Bandwidth (pu) | Conn. type | K_z | K_i | K_p | Use initial voltage? | Bus1 | Bus2 | P1(kW) | Q1(kVAr) | P2 (kW) | Q2 (kVAr)
End of Two-Phase ZIP Load
Three-Phase ZIP Load |  | Go to Type List
ID | Status | V (kV) | Bandwidth (pu) | Conn. type | K_z | K_i | K_p | Use initial voltage? | Bus1 | Bus2 | Bus3 | P1(kW) | Q1(kVAr) | P2 (kW) | Q2 (kVAr) | P3 (kW) | Q3 (kVAr)
LD_7564_6A | 1 | 12.47 | 0.2 | wye | 0 | 0 | 1 | 0 | 7564_3_1_a | 7564_3_1_b | 7564_3_1_c | 13.2462 | 2.8293 | 13.2462 | 2.8293 | 13.2462 | 2.8293
End of Three-Phase ZIP Load

## Line
Type
PositiveSeqLine
SinglePhaseLine
TwoPhaseLine
ThreePhaseLineFullData
ThreePhaseLineSequentialData
Important notes:
Default order of blocks and columns after row 11 must not change
One empty row between End of each block and the next block is mandatory; otherwise, empty rows are NOT allowed
Positive-Sequence Line |  | Go to Type List
ID | Status | From bus | To bus | R (pu) | X (pu) | B (pu)
End of Positive-Sequence Line
Single-Phase Line |  | Go to Type List
ID | Status | Length | From1 | To1 | r11 (Ohm/length_unit) | x11 (Ohm/length_unit) | b11 (uS/length_unit)
End of Single-Phase Line
Two-Phase Line |  | Go to Type List
ID | Status | Length | From1 | From2 | To1 | To2 | r11 (Ohm/length_unit) | x11 (Ohm/length_unit) | r21 (Ohm/length_unit) | x21 (Ohm/length_unit) | r22 (Ohm/length_unit) | x22 (Ohm/length_unit) | b11 (uS/length_unit) | b21 (uS/length_unit) | b22 (uS/length_unit)
End of Two-Phase Line
Three-Phase Line with Full Data |  | Go to Type List
ID | Status | Length | From1 | From2 | From3 | To1 | To2 | To3 | r11 (Ohm/length_unit) | x11 (Ohm/length_unit) | r21 (Ohm/length_unit) | x21 (Ohm/length_unit) | r22 (Ohm/length_unit) | x22 (Ohm/length_unit) | r31 (Ohm/length_unit) | x31 (Ohm/length_unit) | r32 (Ohm/length_unit) | x32 (Ohm/length_unit) | r33 (Ohm/length_unit) | x33 (Ohm/length_unit) | b11 (uS/length_unit) | b21 (uS/length_unit) | b22 (uS/length_unit) | b31 (uS/length_unit) | b32 (uS/length_unit) | b33 (uS/length_unit)
LN_7564_2R1_1_7564_2_1 | 1 | 0.023941 | 7564_2R1_1_a | 7564_2R1_1_b | 7564_2R1_1_c | 7564_2_1_a | 7564_2_1_b | 7564_2_1_c | 0.090841 | 0.37436 | 0.025594 | 0.14498 | 0.090841 | 0.37436 | 0.025594 | 0.14498 | 0.025594 | 0.14498 | 0.090841 | 0.37436 | 2.2789 | -0.53141 | 2.2789 | -0.53141 | -0.53141 | 2.2789
LN_6124_1_7_6124_1_16 | 1 | 0.00093662 | 6124_1_7_a | 6124_1_7_b | 6124_1_7_c | 6124_1_16_a | 6124_1_16_b | 6124_1_16_c | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 7.4171 | -2.8185 | 7.4171 | -2.8185 | -2.8185 | 7.4171
LN_6124_1_4_6124_4 | 1 | 0.0010865 | 6124_1_4_a | 6124_1_4_b | 6124_1_4_c | 6124_4_a | 6124_4_b | 6124_4_c | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 7.4171 | -2.8185 | 7.4171 | -2.8185 | -2.8185 | 7.4171
LN_7536_1_6124B006_86 | 1 | 0.070029 | 7536_1_a | 7536_1_b | 7536_1_c | 6124B006_86_a | 6124B006_86_b | 6124B006_86_c | 0.11065 | 0.072576 | 0.015638 | -0.014789 | 0.11065 | 0.072576 | 0.015638 | -0.014789 | 0.015638 | -0.014789 | 0.11065 | 0.072576 | 58.6521 | -29.326 | 58.6521 | -29.326 | -29.326 | 58.6521
LN_7564_1_S030_7564_1_2 | 1 | 0.013802 | 7564_1_S030_a | 7564_1_S030_b | 7564_1_S030_c | 7564_1_2_a | 7564_1_2_b | 7564_1_2_c | 0.066769 | 0.38496 | 0.020589 | 0.14689 | 0.066769 | 0.38496 | 0.020589 | 0.14689 | 0.020589 | 0.14689 | 0.066769 | 0.38496 | 2.2219 | -0.51223 | 2.2219 | -0.51223 | -0.51223 | 2.2219
LN_7564_2_1_7564_3_1 | 1 | 0.028025 | 7564_2_1_a | 7564_2_1_b | 7564_2_1_c | 7564_3_1_a | 7564_3_1_b | 7564_3_1_c | 0.090841 | 0.37436 | 0.025594 | 0.14498 | 0.090841 | 0.37436 | 0.025594 | 0.14498 | 0.025594 | 0.14498 | 0.090841 | 0.37436 | 2.2789 | -0.53141 | 2.2789 | -0.53141 | -0.53141 | 2.2789
LN_6124_SUB_156_B006_6124B006_85 | 1 | 0.0062111 | 6124_SUB_156_B006_a | 6124_SUB_156_B006_b | 6124_SUB_156_B006_c | 6124B006_85_a | 6124B006_85_b | 6124B006_85_c | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 7.4171 | -2.8185 | 7.4171 | -2.8185 | -2.8185 | 7.4171
LN_7564_1_2_7564_2R1_1 | 1 | 0.017896 | 7564_1_2_a | 7564_1_2_b | 7564_1_2_c | 7564_2R1_1_a | 7564_2R1_1_b | 7564_2R1_1_c | 0.090841 | 0.37436 | 0.025594 | 0.14498 | 0.090841 | 0.37436 | 0.025594 | 0.14498 | 0.025594 | 0.14498 | 0.090841 | 0.37436 | 2.2789 | -0.53141 | 2.2789 | -0.53141 | -0.53141 | 2.2789
LN_6124_21_6124_SBJ_28593_J0 | 1 | 0.0012728 | 6124_21_a | 6124_21_b | 6124_21_c | 6124_SBJ_28593_J0_a | 6124_SBJ_28593_J0_b | 6124_SBJ_28593_J0_c | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 1.6978 | -0.28743 | 1.6978 | -0.28743 | -0.28743 | 1.6978
LN_6124_4_6124_1_27 | 1 | 0.0014094 | 6124_4_a | 6124_4_b | 6124_4_c | 6124_1_27_a | 6124_1_27_b | 6124_1_27_c | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 7.4171 | -2.8185 | 7.4171 | -2.8185 | -2.8185 | 7.4171
LN_6124_1_16_6124_SUB_156_B006 | 1 | 0.0031042 | 6124_1_16_a | 6124_1_16_b | 6124_1_16_c | 6124_SUB_156_B006_a | 6124_SUB_156_B006_b | 6124_SUB_156_B006_c | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 7.4171 | -2.8185 | 7.4171 | -2.8185 | -2.8185 | 7.4171
//LN_7551_42_TX_7551_41_S020 | 1 | 0.019976 | 7551_42_TX_unknown_a | 7551_42_TX_unknown_b | 7551_42_TX_unknown_c | 7551_41_S020_unknown_a | 7551_41_S020_unknown_b | 7551_41_S020_unknown_c | 0.11289 | 0.38719 | 0.047644 | 0.15781 | 0.11289 | 0.38719 | 0.047644 | 0.15781 | 0.047644 | 0.15781 | 0.11289 | 0.38719 | 2.2736 | -0.53669 | 2.2736 | -0.53669 | -0.53669 | 2.2736
//LN_7564_3_1_7564_6A_TX | 1 | 0.10205 | 7564_3_1_a | 7564_3_1_b | 7564_3_1_c | 7564_6A_TX_unknown_a | 7564_6A_TX_unknown_b | 7564_6A_TX_unknown_c | 0.090841 | 0.37436 | 0.025594 | 0.14498 | 0.090841 | 0.37436 | 0.025594 | 0.14498 | 0.025594 | 0.14498 | 0.090841 | 0.37436 | 2.2789 | -0.53141 | 2.2789 | -0.53141 | -0.53141 | 2.2789
LN_6124_SBJ_28593_J0_6124_9 | 1 | 0.0010532 | 6124_SBJ_28593_J0_a | 6124_SBJ_28593_J0_b | 6124_SBJ_28593_J0_c | 6124_9_a | 6124_9_b | 6124_9_c | 0.30939 | 0.43417 | 0.036794 | 0.28358 | 0.30939 | 0.43417 | 0.036794 | 0.28358 | 0.036794 | 0.28358 | 0.30939 | 0.43417 | 3.5926 | -1.19 | 3.5926 | -1.19 | -1.19 | 3.5926
LN_6124_1_28_6124_22 | 1 | 0.00063675 | 6124_1_28_a | 6124_1_28_b | 6124_1_28_c | 6124_22_a | 6124_22_b | 6124_22_c | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 1.6978 | -0.28743 | 1.6978 | -0.28743 | -0.28743 | 1.6978
LN_6124B006_85_7536_1 | 1 | 0.0012311 | 6124B006_85_a | 6124B006_85_b | 6124B006_85_c | 7536_1_a | 7536_1_b | 7536_1_c | 0.11065 | 0.072576 | 0.015638 | -0.014789 | 0.11065 | 0.072576 | 0.015638 | -0.014789 | 0.015638 | -0.014789 | 0.11065 | 0.072576 | 58.6521 | -29.326 | 58.6521 | -29.326 | -29.326 | 58.6521
LN_6124B006_86_7564_1_S030 | 1 | 0.005583 | 6124B006_86_a | 6124B006_86_b | 6124B006_86_c | 7564_1_S030_a | 7564_1_S030_b | 7564_1_S030_c | 0.066769 | 0.38496 | 0.020589 | 0.14689 | 0.066769 | 0.38496 | 0.020589 | 0.14689 | 0.020589 | 0.14689 | 0.066769 | 0.38496 | 2.2219 | -0.51223 | 2.2219 | -0.51223 | -0.51223 | 2.2219
LN_6124_24700_6124_1_3 | 1 | 0.00092643 | 6124_24700_a | 6124_24700_b | 6124_24700_c | 6124_1_3_a | 6124_1_3_b | 6124_1_3_c | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 1.6978 | -0.28743 | 1.6978 | -0.28743 | -0.28743 | 1.6978
LN_6124_1_27_6124_37 | 1 | 0.0030905 | 6124_1_27_a | 6124_1_27_b | 6124_1_27_c | 6124_37_a | 6124_37_b | 6124_37_c | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 7.4171 | -2.8185 | 7.4171 | -2.8185 | -2.8185 | 7.4171
LN_6124_1_3_6124_24 | 1 | 0.0051416 | 6124_1_3_a | 6124_1_3_b | 6124_1_3_c | 6124_24_a | 6124_24_b | 6124_24_c | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 1.6978 | -0.28743 | 1.6978 | -0.28743 | -0.28743 | 1.6978
LN_6124SBP50_6124_1_4 | 1 | 0.0011521 | 6124SBP50_a | 6124SBP50_b | 6124SBP50_c | 6124_1_4_a | 6124_1_4_b | 6124_1_4_c | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 7.4171 | -2.8185 | 7.4171 | -2.8185 | -2.8185 | 7.4171
LN_6124_37_6124_1_7 | 1 | 0.0067655 | 6124_37_a | 6124_37_b | 6124_37_c | 6124_1_7_a | 6124_1_7_b | 6124_1_7_c | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 0.012041 | 0.16553 | 0.012041 | 0.16553 | 0.020429 | 0.37181 | 7.4171 | -2.8185 | 7.4171 | -2.8185 | -2.8185 | 7.4171
LN_6124_9_6124_1_28 | 1 | 0.0020597 | 6124_9_a | 6124_9_b | 6124_9_c | 6124_1_28_a | 6124_1_28_b | 6124_1_28_c | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 0.036794 | 0.19257 | 0.036794 | 0.19257 | 0.10204 | 0.51252 | 1.6978 | -0.28743 | 1.6978 | -0.28743 | -0.28743 | 1.6978
End of Three-Phase Line with Full Data
Three-Phase Line with Sequential Data |  | Go to Type List
ID | Status | Length | From1 | From2 | From3 | To1 | To2 | To3 | R0 (Ohm/length_unit) | X0 (Ohm/length_unit) | R1 (Ohm/length_unit) | X1 (Ohm/length_unit) | B0 (uS/length_unit) | B1 (uS/length_unit)
End of Three-Phase Line with Sequential Data

## Transformer
Type
PositiveSeq2wXF
PositiveSeq3wXF
Multiphase2wXF
Multiphase2wXFMutual
Important notes:
Default order of blocks and columns after row 11 must not change
One empty row between End of each block and the next block is mandatory; otherwise, empty rows are NOT allowed
Positive-Sequence 2W-Transformer |  |  | Go to Type List
ID | Status | From bus | To bus | R (pu) | Xl (pu) | Gmag (pu) | Bmag (pu) | Ratio W1 (pu) | Ratio W2 (pu) | Phase Shift (deg)
End of Positive-Sequence 2W-Transformer
Positive-Sequence 3W-Transformer |  |  | Go to Type List
ID | Status | Bus1 | Bus2 | Bus3 | R_12 (pu) | Xl_12 (pu) | R_23 (pu) | Xl_23 (pu) | R_31 (pu) | Xl_31 (pu) | Gmag (pu) | Bmag (pu) | Ratio W1 (pu) | Ratio W2 (pu) | Ratio W3 (pu) | Phase Shift W1 (deg) | Phase Shift W2 (deg) | Phase Shift W3 (deg)
End of Positive-Sequence 3W-Transformer
Multiphase 2W-Transformer |  |  | Go to Type List
ID | Status | Number of phases | Bus1 | Bus2 | Bus3 | V (kV) | S_base (kVA) | Conn. type | Bus1 | Bus2 | Bus3 | V (kV) | S_base (kVA) | Conn. type | Tap 1 | Tap 2 | Tap 3 | Lowest Tap | Highest Tap | Min Range (%) | Max Range (%) | X (pu) | RW1 (pu) | RW2 (pu)
TR1_6124_24_6124SBP50 | 1 | 3 | 6124_24_a | 6124_24_b | 6124_24_c | 138 | 20000 | delta | 6124SBP50_a | 6124SBP50_b | 6124SBP50_c | 12.47 | 20000 | wye | 0.95 | 1 | 1 | -16 | 16 | 10 | 10 | 0.11785 | 0.0016612 | 0.0016612
End of Multiphase 2W-Transformer
Multiphase 2W-Transformer with Mutual Impedance |  |  | Go to Type List
ID | Status | Number of phases | Bus1 | Bus2 | Bus3 | V (kV) | S_base (kVA) | Conn. type | Bus1 | Bus2 | Bus3 | V (kV) | S_base (kVA) | Conn. type | Tap 1 | Tap 2 | Tap 3 | Lowest Tap | Highest Tap | Min Range (%) | Max Range (%) | Z0 leakage (pu) | Z1 leakage (pu) | X0/R0 | X1/R1 | No Load Loss (kW)
End of Multiphase 2W-Transformer with Mutual Impedance

## Switch
From Bus | To Bus | ID | Status
6124_22_a | 6124_24700_a | 6124_24700_1_a | 1
6124_22_b | 6124_24700_b | 6124_24700_1_b | 1
6124_22_c | 6124_24700_c | 6124_24700_1_c | 1

## Shunt
Type
PositiveSeqShunt
SinglePhaseShunt
TwoPhaseShunt
ThreePhaseShunt
Important notes:
Default order of blocks and columns after row 11 must not change
One empty row between End of each block and the next block is mandatory; otherwise, empty rows are NOT allowed
Positive-Sequence Shunt |  | Go to Type List
ID | Status | Bus | P (MW) | Q (MVAr)
End of Positive-Sequence Shunt
Single-Phase Shunt |  | Go to Type List
ID | Status | kV (ph-gr RMS) | Bus1 | P1 (kW) | Q1 (kVAr)
End of Single-Phase Shunt
Two-Phase Shunt |  | Go to Type List
ID | Status1 | Status2 | kV (ph-gr RMS) | Bus1 | Bus2 | P1 (kW) | Q1 (kVAr) | P2 (kW) | Q2 (kVAr)
End of Two-Phase Shunt
Three-Phase Shunt |  | Go to Type List
ID | Status1 | Status2 | Status3 | kV (ph-gr RMS) | Bus1 | Bus2 | Bus3 | P1 (kW) | Q1 (kVAr) | P2 (kW) | Q2 (kVAr) | P3 (kW) | Q3 (kVAr)
End of Three-Phase Shunt